## Alerts
List of ENERGY STAR Portfolio Manager ® Alerts
This comprehensive list shows all of the alerts (or, data flags) that you may encounter in Portfolio Manager. You will primarily see alerts in three locations, but note that not all alerts show in all three places: o Data Quality Checker - You can run the Data Quality Checker from the Summary tab of any property to check for incomplete or unusual data. o N/A Explanations - If we cannot compute a metric, like Source EUI or the ENERGY STAR score, you can click on "Not Available" for information on why. o Custom Reports - A handful of basic alerts can be exported into your custom Excel reports from the Reporting tab
Alert Number | Alert Name | Type Of Data Flagged | Data Quality Checker | N/A Explanations | Custom Reports
1 | Property has no energy meters. | Energy | Yes | Yes | No
2 | Property has no water meters. | Water | Yes | Yes | No
3 | No meters selected for performance metrics. | Energy, Water | Yes | Yes | Yes
4 | There is not 12 full months of meter data. | Energy, Water, Flow, IT Energy | Yes | Yes | Yes
5 | There is not 12 full months of cost data. | Energy, Water, IT Energy | No | Yes | No
6 | There is no meter of the type for this metric. | Energy, Water, Flow, IT Energy | No | Yes | No
7 | Do not have at least one {Use Details} meter active for each of the 12 months in the year selected. | Energy, Water, Flow, IT Energy | Yes | Yes | No
8 | Meter(s) with gaps in bills. | Energy, Water, Flow, IT Energy | Yes | Yes | Yes
9 | Meter(s) with overlaps in bills. | Energy, Water, Flow, IT Energy | Yes | Yes | Yes
10 | Insufficient data for Baseline or Current Date | Energy, Water | No | Yes | No
11 | Data Center(s) without IT Energy meters. | IT Energy | Yes | Yes | Yes
12 | Water or Wastewater Plant(s) without Plant Flow meters. | Flow | Yes | Yes | No
13 | There are no Property Uses. | Use Details | Yes | Yes | Yes
14 | One or more Property Use has less than 12 full calendar months of Gross Floor Area for the year selected. | Use Details | Yes | Yes | No
15 | Total Gross Floor Area is zero for the year selected. | Use Details | Yes | Yes | Yes
16 | Average Flow is zero for the year selected. | Flow | Yes | Yes | No
17 | Metric does not apply to this property. | Property | No | Yes | No
18 | No National Median available for the EPA-calculated Property Type. | Property | No | Yes | No
19 | No National Median available for mixed use data center, mixed use water treatment, and mixed use wastewater. | Property | No | Yes | No
20 | Target not set. | Property | No | Yes | No
21 | Property has energy meters of the "Other" type. | Energy | Yes | Yes | No
22 | Property has chilled water meters of the "Other" type. | Energy | Yes | Yes | No
23 | Metric is only available for properties that consist of a single Property Type. | Property | No | Yes | No
24 | Total IT energy is zero. | IT Energy | Yes | Yes | No
25 | One or more bills cover more than 65 days. | Energy | Yes | Yes | Yes
26 | There is no identified weather station. | Property | Yes | Yes | No
27 | There is not 12 full calendar months of weather data for the year selected. | Property | No | Yes | No
28 | One or more fuel types does not have enough meter data to calculate Weather Normalized EUI. | Energy | Yes | Yes | No
29 | Too few months with deliveries to receive Weather Normalized EUI. | Energy | Yes | Yes | No
30 | Too many outliers to receive Weather Normalized EUI | Energy | Yes | Yes | No
31 | Not tracking energy for the entire building. | Property | No | Yes | No
32 | More than 50% of the Gross Floor Area is not a single Property Type that is eligible for a 1-100 score. | Property | No | Yes | No
33 | More than 25% of the EPA-Calculated Property GFA is considered "Other." | Property | No | Yes | No
34 | Property Type cannot get a score as a campus. | Property | No | Yes | No
35 | One or more Property Use Detail does not have 12 full months of information for the year selected. | Use Details | No | Yes | No
36 | The Gross Floor Area (GFA) of your Partially and Fully Enclosed Parking cannot exceed the GFA of the property. | Property | No | Yes | No
37 | {Use Details} is too small. | Use Details | No | Yes | No
38 | {Use Details} is outside the allowed range. | Use Details | No | Yes | No
39 | {Use Details} is marked as No. | Use Details | No | Yes | No
40 | {Use Details} cannot exceed {Use Details} | Use Details | No | Yes | No
41 | The combination of {Use Details} and {Use Details} is too small. | Use Details | No | Yes | No
42 | The Total Number of Residential Living Units must equal the sum of the High, Mid, and Low-rise Living Units. | Use Details | No | Yes | No
43 | Data Center does not have a meter at the location required for an ENERGY STAR score. | IT Energy | Yes | Yes | No
44 | The combination of Use Details is unusual and prevents the calculation of the ENERGY STAR Score. | Property | No | Yes | No
45 | Meter data before the active date. | Energy, Water, Flow, IT Energy | Yes | No | No
46 | Meter data after the inactive date. | Energy, Water, Flow, IT Energy | Yes | No | No
47 | Property does not have electric meter data. | Energy | Yes | No | No
48 | Source EUI appears high. | Energy | Yes | No | No
49 | Source EUI appears low. | Energy | Yes | No | No
50 | Data Center PUE appears unusual. | Energy, IT Energy | Yes | No | No
51 | The property type selected does not match the type calculated by EPA | Property | Yes | No | No
52 | Gross Floor Area appears unusual. | Property | Yes | No | No
53 | Additional Property Use types reported with Data Center. | Property | Yes | No | No
54 | Unusual combination of retail and supermarket uses. | Property | Yes | No | No
55 | Gross Floor Area mismatch (entered vs. calculated). | Property | Yes | No | No
56 | Office use may be incorrectly classified. | Property | Yes | No | No
57 | Use details marked as "temporary". | Use Details | Yes | No | No
58 | Number of Computers appears high for square footage for the year selected. | Use Details | Yes | No | No
59 | Number of Computers appears unusual for occupancy for the year selected. | Use Details | Yes | No | No
60 | Number of Walk-in Refrigeration/Freezer Units appears unusual for the year selected. | Use Details | Yes | No | No
61 | Number of Commercial Refrigeration/Freezer Units appears unusual for the year selected. | Use Details | Yes | No | No
62 | Workers on Main Shift appears unusual for the year selected | Use Details | Yes | No | No
63 | Number of Rooms appears unusual for the year selected | Use Details | Yes | No | No
64 | Weekly Operating Hours appears unusual for the year selected | Use Details | Yes | No | No
65 | Number of Cash Registers appears unusual for the year selected | Use Details | Yes | No | No
66 | Seating Capacity appears unusual for the year selected | Use Details | Yes | No | No
67 | Number of Full-Time Equivalent Workers appears unusual for the year selected. | Use Details | Yes | No | No
68 | Number of Staffed Beds appears unusual for the year selected. | Use Details | Yes | No | No
69 | Number of MRI Machines appears unusual for the year selected. | Use Details | Yes | No | No
70 | Total Number of Residential Living Units appears unusual for the year selected. | Use Details | Yes | No | No
71 | Number of Residential Electronic Lift Systems appears unusual for the year selected. | Use Details | Yes | No | No
72 | Number of Commercial Washing Machines appears unusual for the year selected. | Use Details | Yes | No | No
73 | Number of Residential Washing Machines appears unusual for the year selected. | Use Details | Yes | No | No
74 | Number of Bedrooms per Unit appears unusual for the year selected. | Use Details | Yes | No | No